## Slide 1: Energy Policy
K. K. Wagh Institute of Engineering Education & Research, Nashik

## Slide 2: Objectives of Energy Management:
Improvement in Energy efficiency to reduce Energy consumption and cost
Eliminate wastages by use of good housekeeping practices.
Minimize Environmental degradation
Energy Management Principles:
Procure Energy at lowest cost.
Use Energy at Highest possible efficiency
Use low investment technologies.
Reduce, reuse and recycle.
Fuel substitution
Use of renewable Energy

## Slide 3: Energy Management structure
Head
Prof. Dr. B.E. Kushare
Dr. M.N. Shelar
Prof. S. S. Dhamal
Dr. S.D. Barhate
Prof. (Dr.) B. E. Kushare: Professor and Head of Electrical Engineering Department
Dr. M.N. Shelar: Professor, Mechanical Engineering Department
Dr. S.D.Barhate: Associate Professor, Mechanical Engineering Department
Prof. S. S. Dhamal: Associate Professor, Electrical Engineering Department
Certified Energy Auditors
Certified Energy Manager

## Slide 4: Types and Use of Energy
Sr. No. | Type of Energy | Energy Usage
1 | Electrical energy | Indoor and outdoor illumination Ventilation Air conditioning. Water Pumping. Computers and peripherals Laboratory Equipment’s Work shop Equipment’s
2 | LPG | Mess and Canteen for Food preparation
3 | Solar Heat Energy | Water Heating

## Slide 5: Electrical Supply System
Electrical Supply: 11KV HT, MSEDCL Overhead line
500 KVA Packaged Substation
11 KV Step-down to 415V
Distribution: Through Underground cable network
320 KVA DG set with Auto Mains Failure (AMF) facility.
Through detuned Real Time Power Factor Controller (RTPFC) panel at Substation Level
Back up Power Supply
Reactive Power Management

## Slide 6
Mission:
Minimise Energy consumption by use of Energy efficient Equipment’s and maximum use of day light, natural ventilation and Energy substitution.
Maximize use of renewable Energy.
Create Awareness about Energy conservation.
Manage efficiently utilisation of Energy resources by use of cleaner and more efficient technologies.
Train faculties, students, Industry professionals to make institute the pace setter in the area of Energy conservation.
Promote awareness related with Energy conservation among various sections of society
Enrich our experience on Energy conservation by exchange of ideas with other organisations
Encourage faculty members to obtain certification as a certified Energy Auditors and Managers.
Carry out regular internal energy audit to identify energy conservation opportunities
Provide Expertise to industry and other organisations in the area of Energy management by offering Energy Audit Services.
plan to achieve

## Slide 7: Energy management Action Plan:
Improvement in Energy efficiency :
Use of Star labelled Equipment’s such as Refrigerator, Air conditioners.
Replacement of Conventional T8 36/40-watt florescent lamps by T8 18W LED tube.
Replacement of 150 HPSV street light fixtures by 72 W LED street Light Fixtures.
Use of TFT computer monitors.
Replacement of conventional ceiling fans by BLDC ceiling Fans.

## Slide 8: Elimination of Energy wastages
Maximum use of natural day light for indoor illumination.
Use of natural ventilation.
Use of timer switches to street light control
Use of timer switches in class room
Good House keeping practices.
Fine tuning of temperature setting of Air conditioners and Water coolers

## Slide 9
Energy Substitution:
Use of solar water Heaters in place of Electric Geysers.
Maximum Use of Renewable Energy : Grid interactive Solar PV systems at Roof tops
Energy Cost Optimisation:
Maximum demand optimisation by adequate reactive power management.
PF incentive by maintenance of Power factor above 0.995 .
Use of detuned RTPFC to eliminate risk of resonance.
TOD tariff benefits by operating flexible load during off Peak Period.
Use of dual trigger RTPFC panel to optimize DG fuel consumption

## Slide 10
Training and awareness programmes:
Conducting awareness program for staff, students and society.
Active involvement of UG /PG students in awareness program in schools.
Conduct faculty development program to faculties from various Engineering colleges.
Conduct competence enhancement program for industry professional in the area of Energy management.
Conduct work shops on Grid interactive solar PV systems and Renewable Energy.
Organise seminar and poster presentation in the area of renewable Energy and Environmental Protection.
Encourage students to undertake UG projects in the area of Energy Management

## Slide 11
Thank You.....!